## Slide 1
POWER SOURCES & POWER PROTECTION
Submitted to-
Sanket Timsina
8-1-2025
SUBMITTED BY: GROUP-A
SUBMITTED BY-
GROUP - A

## Slide 2
POWER SOURCE
Definition :
A power source is any system or device that provides electricity to operate electrical equipment.

## Slide 3
Types Of Power Sources
POWER SOURCES
Alternating Current (AC)
  Supplied by utility companies
  Powers homes, schools, and industries
Direct Current (DC)
Backup Power Sources
  UPS (Uninterruptible Power Supply)
  Generators
  Inverters
Renewable Sources
  Provided by batteries and solar panels
  Used in smartphones, laptops, and electronic circuits
  Solar, wind, hydro
  Eco-friendly and sustainable

## Slide 4
WHAT IS A POWER SURGE?
Definition :
  A power surge is a brief spike in voltage above the normal range.
  Surges can rise to thousands of volts and last milliseconds.

## Slide 5
Introduction to Surge Suppressors
Definition :
A surge suppressor is a device that protects electrical equipment by diverting or blocking excess voltage caused by surges.
Installed between the power source and the device.
Allows only safe voltage to pass through.

## Slide 6
How Does a Surge Suppressor Work?
  Contains a Metal Oxide Varistor (MOV).
  Under normal voltage, the MOV does nothing.
During a surge:
  It quickly diverts extra voltage to the ground wire.
  This prevents the surge from reaching connected devices.

## Slide 7
IMPORTANCE
Equipment Protection
Prevents permanent damage to expensive devices like TVs, computers, routers, and appliances.
Increased Lifespan of Electronics
Reduces wear and tear caused by frequent minor voltage spikes.
Fire and Hazard Prevention
Avoids overheating and electrical fires caused by power surges.

## Slide 8
POWER SURGES ARE A SERIOUS RISK TO ELECTRONIC DEVICES, OFTEN CAUSING DAMAGE OR DATA LOSS. SURGE SUPPRESSORS PROVIDE ESSENTIAL PROTECTION BY SAFELY BLOCKING EXCESS VOLTAGE. THEY HELP EXTEND DEVICE LIFESPAN, REDUCE REPAIR COSTS, AND ENSURE ELECTRICAL SAFETY.
CONCLUSION